Liste des mots clés

MCB: miniature circuit breaker.

LV: low voltage

CT/VT: current/voltage transformer

Selectivity:  also known as circuit breaker discrimination, is the coordination of overcurrent protection devices so that a fault in the installation is cleared by the protection device located immediately upstream of the fault.

MCC: motor control center

PP: pellet plant

BP: beneficiation plant

AutoCAD: AutoCAD Electrical adds electrical design features to help you to create, modify and document electrical controls systems.

HMI: Human machine interface

RS-485: is an industrial specification that defines the electrical interface and physical layer for point-to-point communication of electrical devices.

VCB: vacuum circuit breaker

IED: intelligent electronic device

PCM 600: program to carry out various logical operations such as tripping or alarming

SCADA: Supervisory Control and Data Acquisition

LCD: Liquid Crystal Display

(GPR): Ground Potential Height

PH-PH: phase to phase short circuit

PH-G: phase to ground short circuit

PH-PH-G: phase to phase to ground short circuit